## RT- Oligo dT
A. | Reverse Transcription Using Oligo (dT) |  |  |  | r
Kit: Transcriptor first strand cDNA synthesis kit
| Cat. No. 04 379 012 001 | Technical Service: 1-800-262-4911
| Master Mix 1 | Final | Volume for | Volume for (plus 1 extra)
| Reagent | Conc. | 1 | 5 | <Enter sample number plus 1
| Water, PCR-grade |  | 10 | 50
| Oligo(dT)18 Primer (50 pmol/ l) | 2.5 uM | 1 | 5
| Final volume |  | 11 | 55
Pipette 11 uL into individual tubes and add RNA to make a final volume of 13
| Total RNA variable | (10 ng - 5 ug) | 2
Incubate at 65°C for 10 min and place the tube immediately on ice
See page 2…
Continued from page 1
| Master Mix 2 | Final | Volume for | Volume for (plus 1 extra)
| Reagent | Conc. | 1 | 5 | <Enter sample number plus 1
| RT Buffer (5X) | 1 X | 4 | 20
| Rnase inhibitor (40 U/ uL) | 20 Units | 0.5 | 2.5
| Deoxynucleotide mix (10mM each) | 1mM | 2 | 10
| Transcriptor reverse transcriptase | 10 Units | 0.5 | 2.5
| Final volume 13 µl |  | 7 | 35
Add 7 uL of master mix 2 into RT tube above
| Cycling Parameters | 30 min 55 deg C
5 min 85 deg C
Make 6 10 fold serial dilutions for PCR
Store cDNA at 2 to 8°C for 1-2 h or -15 to -25°C for longer periods.

## RT- Random hexamers
B. | Reverse Transcription Using Random Hexamers |  |  |  | r
Kit: Transcriptor first strand cDNA synthesis kit
Cat. No. 04 379 012 001
Technical Service: 1-800-262-4911
| Master Mix 1 | Final | Volume for | Volume for (plus 1 extra)
| Reagent | Conc. | 1 | 5 | <Enter sample number plus 1
| Water, PCR-grade |  | 9 | 45
| Random Hexamer Primer (600 pmol/ l) | 60 uM | 2 | 10
| Final volume |  | 11 | 55
Pipette 13 uL into individual tubes and add RNA to make a final volume of 13.
| Total RNA variable | (10 ng - 5 ug) | 2
Incubate at 65°C for 10 min and place the tube immediately on ice- RT
See page 2…
Continued from page 1
| Master Mix 2 | Final | Volume for | Volume for (plus 1 extra)
| Reagent | Conc. | 1 | 5
| RT Buffer (5X) | 1 X | 4 | 20
| Rnase inhibitor (40 U/ uL) | 20 Units | 0.5 | 2.5
| Deoxynucleotide mix (10mM each) | 1mM | 2 | 10
| Transcriptor reverse transcriptase | 10 Units | 0.5 | 2.5
| Final volume 13 µl |  | 7 | 35
Add 7 uL of master mix 2 into RT tube above
| Cycling Parameters | 10 min 25 deg C
30 min 55 deg C
5 min 85 deg C
5 min 85 deg C
Use 1-5 uL for real-time
Store at 2 to 8°C for 1-2 h or -15 to -25°C for longer periods.

## LC480 SYBR
D. | Real-Time PCR Universal Probe Library |  |  |  | r
Kit: LightCycler 480 Probe Master
Cat. No. 04 707 516 001 (500 RXNS)
Technical Service: 1-800-262-4911
| Master Mix | Final | Volume for | Volume for (plus 1 extra)
| Reagent | Conc. | 1 | 6 | <Enter sample number plus 1
| Water |  | 1 | 6
| PCR Primer forward (5uM) | 0.5 uM | 2 | 12
| PCR Primer Reverse (5uM) | 0.5 uM | 2 | 12
| 2X Master | 1 X | 10 | 60
| Final volume |  | 15 | 90
Pipette 15 uL master mix plus 5 uL cDNA to make a final volume of 20.
| cDNA |  | 5
The Amplification Protocol:
Initial Denaturation: 95°C for 5 min
Amplification Cycles (45x):
95°C for 5 sec
(Annealing temp °C) for 10 sec: Single fluorescence acquisition
72°C for (amplicon length/25) sec: Acquire fluorescence at extension
Cooling: 40°C for 30 sec

## LC480 PROBES
D. | Real-Time PCR Universal Probe Library |  |  |  | r
Kit: LightCycler 480 Probe Master
Cat. No. 04 707 494 001 (500 RXNS)
Technical Service: 1-800-262-4911
| Master Mix | Final | Volume for | Volume for (plus 1 extra)
| Reagent | Conc. | 1 | 6 | <Enter sample number plus 1
| Water |  | 0.6 | 3.6
| PCR Primer forward (5uM) | 0.5 uM | 2 | 12
| PCR Primer Reverse (5uM) | 0.5 uM | 2 | 12
| Taq Man Probe (10uM) | 0.2 uM | 0.4 | 2.4
| 2X Master (prepared above) | 1 X | 10 | 60
| Final volume |  | 15 | 90
Pipette 15 uL master mix plus 5 uL cDNA to make a final volume of 20.
| cDNA |  | 5
The Amplification Protocol:
Initial Denaturation: 95°C for 5 min
Amplification Cycles (45x):
95°C for 5 sec
60°C for 30 sec: Aquire fluorescence at extension
Cooling: 40°C for 30 sec